- Appendix 1 Error estimation of fire ignition range of voxel size

The cell-based fire spreading range is bigger than the actual fire separating range (Left of Fig.1), indicating that the element a little farther than the fire separation distance can still be detected. It is clearly that the detection error is caused by the voxel size, so the function between the errors and the voxel size needs to be clarified. Since the range is centrally symmetrical, it is only necessary to focus on the range in the first quadrant. There are two situations:

Fig.1 Error estimation caused by cell sizes

Situation 1: The projection of an ignition element intersects the red cell and the projection of another element interests the green cells in the middle of Fig.1, The error is the farthest horizontal distances of the 2 points in the red cell and the green cell(denoting as dfar) minus the fire separation distance d in Equation (1)

|  | Error=dfar−d=n+22+1vs−d | (1) |
| --- | --- | --- |

Where n is the maximum number of voxels between the red and the farthest green voxels (boldened in the left of Figure A1), vs is the voxel size. It can also deduced that, n=ceil(dvs)≥dvs , so d≤n*vs, therefore Equation (1) can be converted to equation (2)

|  | Error≤n+22+1vs−n∗vs | (2) |
| --- | --- | --- |

By denoting the right part of Equation (2) as f(n), The derivative of f(n) with respect to n is shown in Equation (3).

|  | d(f(n))dn=n+2n+22+1−1vs | (3) |
| --- | --- | --- |

It is obvious that Equation (3) is less than zero, indicating that f(n) is a descending function of n. when n get its minimum, which is 0,f(n) reaches its maximum, which is 5vs. By combining Equation (3), Error≤5vs.

Situation 2: The projection of an ignition element intersects the red cell and the projection of another element interests the green cells in the right of Fig.1. In that situation, Error is calculated by Equation (4).

|  | Error=m+12+n+12vs−d | (4) |
| --- | --- | --- |

Where m and n are the row and column offset between the red voxels and a green voxel in the right of Fig.1.

The nearest distance between the red cells and the green cells of Fig.1, denoted by dnear, is calculated by Equation (5)

|  | dnear=m−12+n−12vs | (5) |
| --- | --- | --- |

Since dnear ≤d, by combining Equation (4) and (5), equation (6)is obtained

|  | Error≤m+12+n+12vs−m−12+n−12vs | (6) |
| --- | --- | --- |

Equation (5) can also be transformed into equation (7)

|  | m−12+n−12=(dnearvs)2 | (7) |
| --- | --- | --- |

Let m-1=(dnearvs)cosθ, n−1=dnearvssinθ, then m+1=(dnearvs)cosθ+2,n+1=dnearvssinθ+2, Substitute them to equation(7) and simplify, we get equation (8)

|  | Error≤dnearvs2+4dnearvscosθ+sinθ+8∗vs−dnear | (8) |
| --- | --- | --- |

Since cosθ+sinθ=2sinθ+π4≤2 ,so equation (9) is also correct

|  | Error≤dnearvs2+42dnearvs+8∗vs−dnear =dnearvs+22∗vs−dnear =22vs | (9) |
| --- | --- | --- |

Based on the 2 situations, the maximum Error is max(5vs,22vs) =22vs.

- Appendix 2 Accuracy of the LLM

Test Description

This test evaluates the accuracy of LLMs in acquiring fire-hazard data. The material combustibility of the two models was first generated by the built-in LLM API provided by Qwen-3.5-plus. Then they are checked manually by the authors. Since LLM models like ChatGPT, Gemini, and Claude are unavailable in China, we use the Chinese LLMs including Deepseek Reasoner-V3.2, Doubao, ERNIE-4.5-Turbo, and Kimi-2.5 to see the perform  ance on various LLMs. The accuracy of the LLM performance, denoting by Accu, is calculated by Equation (10) where ncorrect are the number of the correct material/activity fire-hazard data given by a LLM nall is the number of the materials/activities.

|  | Accu=ncorrectnall | (10) |
| --- | --- | --- |

Result of the LLM accuracy test

The result of the LLM accuracy is shown in Fig.1. In Fig.1(a), most models can acquire the fire hazard data from the activities with a relatively high accuracy. One exception is the combustibility judgment by DeepSeek-chat. The reason is that there are a lot of “N/A” in its output, showing that the model is over-conservative. For example, when judging the combustibility of A14(plastering, the resources are cement mortar, brush, and water). It gives an “N/A” with the reason stating that “The material of the brush is unknown, no other ignition sources”. However, when it comes to the fire hazard of material, all LLM models performs poor. The initial accuracies in model 1 vary from 50.98% to 72.5%, while in model 2, the range is from 31.48% to 46.3%. By double-checking the material names, we found that some materials are not named as valid materials; instead, they appear to be either building components (for example, a material named Parking Stripe in Model 1) or codes (for example, a material named CT-05 in Model 2). Such materials lack clear definitional information, leading LLMs to make incorrect judgments (in such cases, most LLMs assign an “N/A” to these materials). By adjusting the fire hazard data of those materials to “N/A”, a significant increase of the accuracy of each LLM model appears. This result shows that the LLM has the potential to make high-quality judgments, but it relies on the correct information in the BIM model.

Fig. 1 Result of the LLM-based fire-hazard analysis accuracy