## Slide 1: Instructions to users
2026-03-23

## Slide 2: Content
1 Introduction
2 Installation
3 Running the tool
4 Validation test
5 glTF Output

## Slide 3: I Introduction
This tool is developed for identifying fire hazard. Currently the tool only support Revit 2018.

## Slide 4: 2 Installation
The tool is run by the Revit Addin Manager, which is an add-in for Revit. If you have not install the Addin Manager, please quit the Revit application, copy all the files in the AddinManager to the folder C:\ProgramData\Autodesk\Revit\Addins\[your Revit version]\, and restart the Revit application. Then you can find it appears in the Add-Ins Tabs

## Slide 5: 2 Installation
Click the “Add-In Manager（Manual Mode）” , Click “Load”, choose the SiteHazardIdentifier.dll of "Supplementary Materials\Compiled\Debug\" folder

## Slide 6: Running the tool
1st Select the SiteHazardIdentifier.IdentifyHazardRisk from the Add-in Manager, then click Run. The main form of the tool will appear.

## Slide 7: Running the tool
2nd click the “Load voxel”. Choose the “School200-2 from the SampleFile folder. Wait until the voxels are loaded.

## Slide 8: Running the tool
3rd, Click the “Load WBS Data” button, choose the Work3.csv from “Supplementary Materials\Samples\Converted” folder. Wait until the data are loaded.

## Slide 9: Running the tool
4th Click “Fire hazard Identification”. Wait until the process is over. You can save the result by clicking “Yes” of the pop-up dialogue for the validation check

## Slide 10: Running the tool
5th Click “Visualize” to check the colored representation of the model. Note: Data will only generated on the main model, the linked model, even voxelized, cannot attatch data.

## Slide 11: Running the tool
6th Click any element to check its detailed fire hazard information.

## Slide 12
Thank you!